Monitoring Active Directory

While there are many fine third-party tools for monitoring Active Directory, what if you are operating on a shoe-string and can not afford to acquire a third-party monitoring tool.

Is it possible to develop a monitoring system using functions built into the operating system and freeware - I believe the answer is yes, but in order to develop such a system one first has to look at the basics of monitoring.

What should be monitored?

The first question is – what should you monitor? To answer this question, let us consider a server as a system of components, as depicted in Figure 1 - each of which must function properly for the server to operate well

- At the bottom of the chain, we have the physical environment of the Glass House, Computer Room or closet where the Active Directory server is housed – the status of power, air-conditioning, physical security, etc.

- Network connectivity is at the next level. This layer consists of both physical (transport media, routers, hubs, switches, etc) and logical connectivity (DNS, WINS, etc)

- The server is at the next level. This includes the physical devices in the server (disk drives, NIC, etc) and the operating system

- At the highest level is Active Directory itself, which potentially depends upon services from a group of computers

How often should monitoring be done?

A well architected and designed Active Directory implementation will continue to provide services in spite of component failures, possibly with reduced responsiveness.

Ideally one would monitor everything continuously, however since the process of monitoring consumes computer resources, such an approach is impractical.

The frequency with which health monitoring should be done depends up:

- Likelihood of health degradation

- Impact of health degradation

While these are specific to each organization, Figure 2 provides a starting point.

| System | Responsibility | How | Frequency |
| --- | --- | --- | --- |
| 1. Physical Environment | Facility administrator | Not in scope for this document |  |
| 2. Network Connectivity | Glass House | Using PingMon | Every 15 minutes |
| 3. Server health (Devices and OS) | Admin for specific AD server | Using EveMon | At least daily |
| 4. AD health | Domain Administrator(s) | Using ADMonitor | At least hourly |
| Figure 2: Monitoring frequency |

The next 3 sections describe PingMon, EveMon, and ADMonitor, which are script wrappers around Microsoft-provided utilities and freeware products.

PingMon

PingMon monitors basic network connectivity to the target server.

How PingMon Works

PingMon is a VBScript wrapper around the Windows command-line utility PING. The script executes PING for specified hostnames and then acts upon the results.

Blat, a public domain product, is used to for sending the pager notification – see http://www.interlog.com/~tcharron/blat.html for details.

PingMon Requirements

- Monitoring machine

  - Windows 2000 (any flavor)

  - Windows Scripting Host 5.6 (which comes with Win2K)

  - Windows Scheduler (which comes with Win2K)

  - CPU, disk, and memory requirements are very small

- All machines must use common DNS

Sample PingMon output

Figure 5: Sample PingMon output

Installing PingMon

- Unzip this ZIP file into a directory, for example “C:\PingMon”

- Edit PingMon.INI (using Notepad) to add list of servers to be monitored and specify output options

- Set repetitive task using Windows Scheduler

EveMon

How EveMon Works

The Windows NT, 2000 and XP operating systems automatically log entries into 3 Event Logs:

- System – Operating System events

- Security – Security related events

- Application – Can be used by any application

All events are categorized into 3 groups whose meaning is quite self-evident

- Error

- Warning

- Information

This monitoring approach capitalizes on the Event Log functionality in the following way:

- A Windows 2000 computer periodically scans the Event Logs of a group of computers

  - Can be itself

  - Group can consist of up to 50 computers (if the monitoring computer has the available CPU cycles)

  - The scan interval is set using the Windows Scheduler (a Win2K function)

- If Errors, Warnings, or Information entries are found in the Event Logs, appropriate notifications are sent as email or pager messages

  - Notification schemes are customized for each monitored computer

  - An text-based INI file specifies the custom notification parameters for each computer

- The Event Logs can be accumulated on the monitoring server as a text file, if so specified. (Accumulating the Event Logs would allow one to use tools such as Access for analysis of failure events).

The monitoring parameters are flexible and can be altered on the fly (by editing the INI file)

The Event Logs are extracted using DumpEvt, a free tool from SystemTools (http://www.systemtools.com/event_main.htm) or http://www.somarsoft.com/

The next figure shows the information flow from the monitored machines to the notified person.

Control flow is depicted in Figure 7

EveMon Requirements

- Monitoring machine

  - Windows 2000 (any flavor)

  - Windows Scripting Host (which comes by default with Win2K)

  - Windows Scheduler (which comes by default with Win2K)

  - CPU, disk, and memory requirements are very small

- All machines (the monitor and monitored) must be in the same NT domain or have a trust relationship

- All machines must use common WINS and common DNS

- An account with Local Administrator rights to each of the monitored machines (in order to read the Event Logs)

Installing EveMon

Summary:

- Unzip EveMon.zip into target directory

- Set up monitoring parameters by modifying EveMon.INI

- Set up monitoring schedule through Windows Scheduler

- Test

- Unzip EveMon.zip into target directory

  - Create a directory on any local drive (i.e. C:\EveMon or D:\EveMon)
If you plan to accumulate the Event Logs, make sure that the drive has adequate free space

  - Unzip EveMon.zip into the target directory. You should see the following files:
- EveMon.wsf
- EveMon.INI
- DumpEvt.exe
- DumpEvt.INI
- Blat.exe

  - When EveMon runs for the first time, it creates two additional sub-directories:
- LOG – where accumulated Event Logs are stored
- TEMP – used for scratch space

- Set up monitoring parameters by modifying EveMon.INI

EveMon.INI contains several parameters for each computer to be monitored. Modify EveMon.INI with any text editor (Notepad). Please follow the syntax carefully when modifying the INI file. The parameters are documented in the INI file, however the key ones are also described here:

computerDNSName

Fully Qualified Domain Name of the machine (FDQN)

computerName

NetBIOS name of computer

computerDesc

Free text description of computer. This appears on emails to help identify
the machine

aDServer

YES or NO – set to YES only for AD Domain Controllers (in this case the

Directory and Replication logs are also scanned)

sMTPHost

DNS name of SMTP server which will be used to send emails and pages.

mailFrom

Any valid email account on the SMTP server will work. Any mail or pages
that bounce will be forwarded to this address.

mailto

List of SMTP addresses separated by commas (can not use any other
           delimiters).  Can have as many addresses as can fit on a single line

mailWarnings

YES or NO - if set to YES, Event Log Warning Messages are included in
the email.

mailInfo

YES or NO - if set to YES, Event Log Information Messages are included
 in the email.

mailEmptyMessage

YES or NO – if set to YES, an email message sent even if no errors,

warnings, or information messages are found.

pageErrors

YES or NO – if set to YES, pager message is sent when errors are

detected. (Pages are not sent for Warnings or Information Messages)

pageTo

List of SMTP addresses, separated by commas, to be paged. (For

example: 1234567890@mobile.net)

pageMessage

Text message to be displayed on pager

accumLogs

YES or NO – if set to YES, Event Logs are accumulated for each scanned

computer in the ..\LOG directory as <machinename.log>

/

The last parameter for each set of parameters must be a back-slash

+

A + at the start of a line indicates a comment line

#

Text to the right of a # (hash mark) is treated as a comment

C. Set up monitoring schedule through Windows Scheduler

1. Launch Windows Scheduler
    Start -> Programs -> Accessories -> System Tools -> Scheduled Tasks

2. You will see …

3. Click on Next …

4. Click on Browse …

- Find EveMon.wsf (in the directory you created earlier)

6. Select Daily and then click on Next …

7. Select Every Day and then Next …

(We have asked the Scheduler to run the monitor daily. In a later step we will specify how often to run the monitor each day)

8. Enter a Username with Administrator privileges on all the machines you are monitoring and then select Next

9. Please check the Open advanced properties …and then select Finish

10. The Properties dialog box opens automatically – select Advanced …

11. Select Repeat Task

Set the Repeat Interval (in this picture it is set to 1 hour)

12.  Select the Settings tab and complete as shown below … select Apply when done

4. Operating EveMon

Once installed, EveMon requires very little ongoing care

- Use Notepad to change monitoring parameters in EveMon.INI, or to add or delete computers to be monitored

- An activity log (text based) is accumulated in ..\EveMon\Runlog.log, for each run to provide diagnostics.

ADMonitor

How ADMonitor Works

Microsoft provides several command-line utilities for checking the health of an AD tree. AD monitor creates a wrapper around these utilities to intelligently manage the execution of the Microsoft utilities, diagnose the output from the tools, decide if an Administrator should be notified or not, and notify the Administrator appropriately.

The Microsoft utilities wrapped in ADMonitor are:

- DCDIAG – extensive tests on individual DC / GC servers

- NETDOM – state of domain-wide services such as FSMO roles, and Trusts with other domains

- NSLOOKUP – Visibility of DNS to AD, and AD to DNS

- NLTEST  - AD Site information

The monitoring parameters are flexible and can be altered on the fly (by editing the INI file).

Control flow is depicted in the following diagram.

ADMonitor Requirements

- Windows 2000

- Windows Scripting Host (which comes by default with Win2K)

- Windows Scheduler (which comes by default with Win2K)

- CPU, disk, and memory requirements are very small

Installing ADMonitor

Summary:

- Unzip ADMonitor.zip into say D:\ADMonitor directory

- Set up monitoring parameters by modifying ADMonitor.INI

- Set up monitoring schedule through Windows Scheduler

- Test

B._Unzip ADMonitor.zip into D:\ADMonitor\Bin directory

You should see the following files after unzipping …

- Set up parameters by modifying ADMonitor.INI

Modify ADMonitor.INI with any text editor (Notepad). Please follow the syntax carefully when modifying the INI file. The 7 parameters are:

binPathName

Location of the executables required for ADMonitor, say D:\ADMonitor\Bin

LogPathName

Directory where diagnostic logs are stored – say D:\ADMonitor\Logs

tempPathName

Location of a temporary work directory – say D:\ADMonitor\Temp

mailto

List of SMTP addresses who will receive logs from this computer. Can be multiple people – for example, mailTo=person1@Mycompany.com,gth@mycompany.com

mailFrom

Should be a valid SMTP address - can be same as one of the mailTo addresses

mailIfNoErrors

Set to YES or NO. YES mails a message even if no errors are found

sMTPHost

SMTP server that will forward diagnostics via email.

D. Set up monitoring schedule through Windows Scheduler
Follow instructions specified for EveMon

Operating ADMonitor

Once installed, ADMonitor requires very little ongoing care.

- Use Notepad to change monitoring parameters in ADMonitor.INI

Sample Output

See embedded HTML file ->

# Text boxes

Physical Environment

(Power, air-conditioning, etc.)

Physical Environment

(Power, air-conditioning, etc.)

Network connectivity

(Can the servers and devices communicate with each other?)

Monitored computer

(Win2K/NT)

Monitored computer

(Win2K/NT)

Monitored computer

(Win2K/NT)

Win2K Monitoring computer

Fig 1: Monitoring stack

Server (hardware & OS

Server (hardware & OS

Server (hardware & OS

Server (hardware & OS

Active Directory 
(Dependent upon services from several servers)

Pager notification

Email notification

Fig 6: EveMon Information Flow

Monitored computer

(Win2K/NT)

Monitored computer

(Win2K/NT)

Accumulated Event Log File (for each specified computer)

SMTP server

SMTP server

Save logs, if specified

Email

Needed??

Page needed?

Parse for messages

Event Log changes since last run

Event Log from a monitored computer

(Win2K or NT)

EveMon

List of computers to be monitored and notification parameters

At preset schedule intervals

Windows Scheduler

PingMon

Monitored host

Monitored host

Monitored host

Status on web-page

Pager/email notification

Figure 3: PingMon overview

Web server

Figure 4: PingMon control flow

SMTP server

HTML output

Fig 7: EveMon control flow

Page needed?

Parse for errors

PING target host

Target host

PingMon

List of computers to be monitored and notification parameters

At preset schedule intervals

Windows Scheduler

Windows Scheduler

At preset schedule intervals

Notification parameters

ADMonitor

Run Microsoft diagnostic utilities

Parse for error messages

Page needed?

Email

Needed??

Save logs

SMTP server

SMTP server

Last run on each day saved for 1 month