Server Build Document – SOLARIS

Steps

Server Control Document

The Lead Builder is responsible for performing all the tasks within this document or delegation of a portion to the Assistant Builder.  After the build is complete, a Quality Assurance Inspector (role assigned to an UNIX Support Level 3 administrator) will be designated to inspect the build.

The check boxes in the instructions below will serve as a prompt to the build team to place a check mark to signify that either the instruction has been executed or that the information item has been acknowledged.

| Step | Instructions | Completed |
| --- | --- | --- |
|  | Save a copy of this document to “<Server Name> Server Build.doc” to |  |
|  | Fill out the Server Build Team form below. |  |

| SOLARIS Server Build |
| --- |
| Project Name |  |
| Project Manager |  |
| Claim Code |  |
| Builder |  |
| Quality Assurance Inspector (Steady State) |  |
| Manager Approval | N/A |
| Asset Tag |  |
| Product Model & Description |  |
| Location: |  | Rack: |  | SLOT: |  |
| Virtualization Global Zone (if zoned) |  |
| Coverage Type |  |
| Number of CPU’s |  |
| GB’s of RAM |  |
| Total DASD | RAID Level # of Partitions |
| Total SAN | # of LUNS Size of LUNS |
| Volume Groups and size |  |  |
| File systems and size |  |
| Active I/O Adapters |  |
| High Availability (Clustered) Y/N |  |
| Application (Simple / Complex) |  |
| Special modifications (kernel changes, crontab, etc) |  |
| Serial number |  |
| OS: |  |  |  |  |
| Server Name: |  |  |  |  |
| IP Address en0: |  | Mask: | 255.255.255.128 | GW: |  |
| IP Address en1: |  | Mask: | 255.255.255.128 | GW: |  |
| IP Address en2: |  | Mask: | 255.255.255.128 | GW: |  |
| DNS1: |  | DNS2: |  |  |  |
| NTP1: |  | NTP2: |  |  |  |

Pre installation

The information below is required for all servers.  Pre installation phase can occur once the solution document is published and the project is sent to procurement.

| Step | Instructions | Installer Notes | Completed |
| --- | --- | --- | --- |
|  | Verify change record for server build is in place if required |  |  |
|  | Review the solution document provided by AMF or Customer Identify configuration specifics such as: Server purpose for host name determination Version of operating system to install Disk configuration Network placement and VLAN information Domains the server will join if applicable Determining if remote management cards are in the solution. |  |  |
|  | Add/update server in ISM. If applicable |  |  |
|  | Obtain IP addresses of server. If the solution has a backup network, obtain an IP address for the backup network. If the solution has bladecenter, request an IP for the bladecenter manager. |  |  |
|  | Confirm BladeCenter LAN and SAN configurations are set for the slot assigned to the server |  |  |
|  | Verify Jumpstart or ignite server to use for this build. See the Tool Requirements section below. |  |  |
|  | If applicable, request SAN connectivity and lunns |  |  |

Racking Server

| Step | Instructions | Installer Notes | Completed |
| --- | --- | --- | --- |
|  | Confirm the ability to gain control of the blade/server from the local KVM, HMC, or via remote web access |  |  |
|  | Confirm that the server and all components have an asset tag. |  |  |
|  | Verify the server has a label with the server host name applied to the front panel. Make sure that network/port documentation matches the rack spreadsheets kept in the Team Room. |  |  |

Hardware configuration

| Step | Instructions | Installer Notes | Completed |
| --- | --- | --- | --- |
|  | Update BIOS, Firmware, and Microcode of server components, as required. While updating, do not power off the server until updates are complete. |  |  |
|  | Verify that the server HW configuration match what is indicated in the Build requirements document. Be sure to note if the solution provides sufficient HW resources. If there are discrepancies, contact team lead. |  |  |
|  | Apply the configuration and restart the server. |  |  |

Baseline Installation of SOLARIS

| Step | Instructions | Installer Notes | Completed |
| --- | --- | --- | --- |
|  | Configure system to boot Network (jumpstart) depending on your install process |  |  |
|  | Verify the correct version of SOLARIS from customer install notes. SOLARIS CD or Install Image |  |  |
|  | Accept the defaults for a fresh installation unless instructed differently by application team |  |  |
|  | Install required packages as per customer documentation |  |  |
|  | If local disk mirror all volume groups. |  |  |
|  | Server will reboot. Continue configuration of OS installation per customer requirements |  |  |

Post base OS Installation and Configuration

| Step | Instructions | Installer Notes | Completed |
| --- | --- | --- | --- |
|  | Set up Initial ids |  |  |
|  | Configure the network nic’s as requested. |  |  |
|  | Test Network connectivity. |  |  |
|  | Set up all application specific requirements (file system, kernel changes, etc) |  |  |
|  | Ensure sudo is at correct level and sudoers is compliant |  |  |
|  | Verify speed and duplex are correct for all lan adapters |  |  |
|  | Work with team lead to arrange time to have local person remove LAN cables to verify network availability |  |  |
|  | Work with team lead to arrange time to have local person remove SAN cables to verify network availability |  |  |
|  | Set up Ignites to be run weekly |  |  |

Systems Management Configuration

| Step | Instructions | Installer Notes | Completed |
| --- | --- | --- | --- |
|  | Download and install the recommended patches for SOLARIS: Pull down the recommended updates |  |  |
|  | Install tools (see tools install instructions) Install means that tools is registered and functioning end to end |  |  |
|  | Install Backup Client (TSM, Netbackup) |  |  |
|  | Install Tivoli Asset Discovery for Distributed. |  |  |
|  | Install ITM |  |  |

Systems Burn In

The server will need to burn in for a period of 72 hours prior to being ready for application loading.  During this time, the SA can test backups, restores and health check the server.  The lead can also quality assure the system during this period.

| Step | Instructions | Installer Notes | Completed |
| --- | --- | --- | --- |
|  | Confirm server ran |  |  |
|  | Confirm there is a Customer Qualys security sign off stored in Sharepoint. |  |  |
|  | Confirm there is a automated or manual patch report stored in Sharepoint. |  |  |
|  | Validate that ID process has been followed and permissions obtained. Stored in Sharepoint. |  |  |
|  | Confirm all tools are reporting |  |  |

Quality Assurance

| Step | Instructions | QA Notes | Completed |
| --- | --- | --- | --- |
|  | Confirm all previous steps were completed. |  |  |
|  | Verify that the following artifacts are stored: Health Check ID process Patch report |  |  |
|  | Confirm that successful system FLAR backups are done |  |  |
|  | Verify DNS is work |  |  |
|  | Verify NTP is working and time is correct |  |  |
|  | Ensure sudo is at correct level and sudoers is compliant |  |  |
|  | Ensure no default passwords are left for any ID (OS, HMC, etc) |  |  |
|  | Confirm a server build document has been created for the server. |  |  |

Application Load

During the application or database install phase, document the following:

- Any services installed or configured.

- Any accounts or groups added or permissions changed.

| Date | Changes Made | SA | Completed |
| --- | --- | --- | --- |